## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
CENTRIFUGE | KOKUSAN | H-11NC | 142581 | CEN-HEMA-003 | 2025-02-18 | CF25020659 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 139482 | CEN-HEMA-002 | 2025-02-18 | CF25020660 | NAN HOSPITAL
HEMATOCRIT CENTRIFUGE | DIGISYSTEM | DSC-100MH-3 | 14010010 | CEN-HEMA-004 | 2025-02-18 | CF25020661 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 141073 | CEN-MCS-003 | 2025-02-18 | CF25020662 | NAN HOSPITAL
CENTRIFUGE | DLAB | DM0412 | LD195AV0000142 | 60026 | 2025-02-18 | CF25020663 | NAN HOSPITAL
INCUBATOR | INCUCELL | IC 55 ECO | H 180021 | INC-MBI-006 | 2025-02-18 | CH25020664 | NAN HOSPITAL
INCUBATOR | INCUCELL | LSIS-B2V/ICV707 | D 142656 | INC-MBI-007 | 2025-02-18 | CH25020665 | NAN HOSPITAL
INCUBATOR | SHEL LAB | SCO5A-2 | 02017022 | INC-MBI-008 | 2025-02-17 | CH25020666 | NAN HOSPITAL
INCUBATOR | INCUCELL | INCUCELL 111 | 990592 | INC-MBI-009 | 2025-02-17 | CH25020667 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-103N | 106330 | CEN-CHEM-IMM-001 | 2025-02-18 | CF25020668 | NAN HOSPITAL
ROTATOR | GEMMY | VRN-200 | 920531/ 3 | ROT-CHEM-IMM-002 | 2025-02-18 | CF25020669 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 137406 | CEN-CHEM-IMM-007 | 2025-02-18 | CF25020670 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 139516 | CEN-CHEM-IMM-009 | 2025-02-18 | CF25020671 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 144080 | CEN-CHEM-IMM-017 | 2025-02-18 | CF25020672 | NAN HOSPITAL
CENTRIFUGE | SIGMA | 2-6 | 158821 | CEN-CHEM-IMM-028 | 2025-02-18 | CF25020673 | NAN HOSPITAL
CENTRIFUGE | HANIL | FLETA-5 | FLPM1811281 | CEC-CHEM-IMM-032 | 2025-02-18 | CF25020674 | NAN HOSPITAL
CENTRIFUGE | HANIL | FLETA 5 | HICRF519072620001 | CEN-CHEM-IMM-037 | 2025-02-18 | CF25020675 | NAN HOSPITAL
REFRIGERATED CENTRIFUGE | KUBOTA | 9932 | G70043-F000 | CEN-BB-002 | 2025-02-19 | CF25020676 | NAN HOSPITAL
REFRIGERATED CENTRIFUGE | KUBOTA | 9932 | G70044-F000 | CEN-BB-001 | 2025-02-19 | CF25020677 | NAN HOSPITAL
REFRIGERATED CENTRIFUGE | UGAIYA | CL8R | 25818090018 | - | 2025-02-19 | CF25020678 | NAN HOSPITAL
CENTRIFUGE | BIORAD | DIACENT-12 | 2001251 | SER-BB-004 | 2025-02-19 | CF25020679 | NAN HOSPITAL
CENTRIFUGE | HETTICH | EBA 280 | 0000455 | CEN-BB-046 | 2025-02-19 | CF25020680 | NAN HOSPITAL
CENTRIFUGE | HETTICH | EBA 280 | 0000458 | CEN-BB-047 | 2025-02-19 | CF25020681 | NAN HOSPITAL
DRY BATH | KW APPARECCHI SCIENTIFICI | WPFD 3/6 | 87048 | - | 2025-02-17 | DB25020682 | NAN HOSPITAL
PLASMA AND STEM CELL THAWER | KW APPARECCHI SCIENTIFICI | WPFD 3/6 | 87347 | - | 2025-02-19 | DB25020683 | NAN HOSPITAL
PLATELET INCUBATOR | Q.NIC | PI-72 | 14721005 | PIN-BB-008 | 2025-02-18 | CH25020684 | NAN HOSPITAL
PLATELET INCUBATOR | SANDEN INTERCOOL | SRC-1320SRTM | SRC1320202-0908-00023 | PIN-BB-001 | 2025-02-18 | CH25020685 | NAN HOSPITAL
FREEZER | SANYO | MDF-U537D | 60406806 | DEF-BB-006 | 2025-02-20 | CH25020686 | NAN HOSPITAL
FREEZER | MELING | DW-FL450 | 220202448 | 66207 | 2025-02-19 | CH25020687 | NAN HOSPITAL
FREEZER | SANYO | MDF-U537D | 60406805 | DEF-BB-005 | 2025-02-19 | CH25020688 | NAN HOSPITAL
FREEZER | SANYO | MDF-U537D | 60406806 | DEF-BB-006 | 2025-02-20 | CH25020738 | NAN HOSPITAL
FREEZER | MELING | DW-FL450 | 220202448 | 66207 | 2025-02-19 | CH25020736 | NAN HOSPITAL
FREEZER & FREEZER | SANYO | MDF-U537D | 60406805 | DEF-BB-005 | 2025-02-19 | CH25020737 | NAN HOSPITAL
FREEZER | ELECTROLUX | MRT791/800 | 7305077 | DEF-BB-008 | 2025-02-19 | CH25020689 | NAN HOSPITAL
REFRIGERATOR | SANYO | MBR-1404GR | 61017128 | REF-BB-015 | 2025-02-17 | CH25020690 | NAN HOSPITAL
REFRIGERATOR | SANYO | MBR-1404GR | 61017131 | REF-BB-014 | 2025-02-17 | CH25020691 | NAN HOSPITAL
REFRIGERATOR | PHCBI | MBR-1405GR-PE | 20080035 | 65634 | 2025-02-17 | CH25020692 | NAN HOSPITAL
REFRIGERATOR | PANASONIC | SBC-P2DBA | 130704 | REF-MLB-004 | 2025-02-17 | CH25020693 | NAN HOSPITAL
REFRIGERATOR | THE COOL INSPIRED | ALEX2P PRO | 106170824 | REF-MLB-005 | 2025-02-17 | CH25020694 | NAN HOSPITAL
INCUBATOR | BIOBASE | BJPX-C80 | BJPXC80S240100005B | INC-MLB-013 | 2025-02-17 | CH25020695 | NAN HOSPITAL
CENTRIFUGE | KOKUSAN | H-19α | 142068 | CEN-MLB-020 | 2025-02-17 | CF25020696 | NAN HOSPITAL
CENTRIFUGE | DLAB | DM0424 | IA23CAT0000022 | CEN-MLB-021 | 2025-02-17 | CF25020697 | NAN HOSPITAL
Piston pipette ; Single Channel | SARTORIUS | PROLINE PLUS 20-200 ul | 43790386 | - | 2025-04-28 | HS.25-2645 | NAN HOSPITAL
Piston pipette ; Single Channel | sartorius | Proline 100-1000 ul | 16610475 | - | 2025-04-28 | HS.25-2641 | NAN HOSPITAL
Liquid in glass Thermometer | - | - | - | THER-CHEM-IMM-019 | 2025-05-13 | LG25052245 | NAN HOSPITAL
Liquid in glass Thermometer | - | - | - | THER-CHEM-IMM-020 | 2025-05-13 | LG25052246 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | AL-2 | - | DT-25LAB-001 | 2025-05-09 | DT25052250 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | DT-6 | - | THER-CHEM-IMM-021 | 2025-05-09 | DT25052251 | NAN HOSPITAL
Liquid in glass Thermometer | - | - | - | THE-MCB-024 | 2025-05-13 | LG25052247 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | - | - | THE-MCB-025 | 2025-05-09 | DT25052252 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | AL-2 | - | THE-MCB-028 | 2025-05-09 | DT25052253 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | DT-4 | - | DT-25LAB-002 | 2025-05-09 | DT25052254 | NAN HOSPITAL
Digital Thermo-Hygrometer | Nicety | TH802A | - | THE-MCB-027 | 2025-05-13 | TH25052249 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | Nicety | TH802A | - | THE-MCB-026 | 2025-05-09 | DT25052255 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | SK SATO | PC-5000TRH-II | - | THE-MCB-029 | 2025-05-09 | DT25052256 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | DT-6 | - | DT-LAB-010 | 2025-05-09 | DT25052257 | NAN HOSPITAL
Piston pipette ; Single Channel | BIOHIT | Proline Plus 2-20 ul | 12586771 | PP-HEMA-037 | 2025-04-28 | HS.25-2647 | NAN HOSPITAL
Piston pipette ; Single Channel | SARTORIUS | PROLINE PLUS 20-200 ul | 43388630 | PP-HEMA-041 | 2025-04-28 | HS.25-2644 | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 5-50 ul | YM221AQ0002301 | PP-HEMA-042 | 2025-04-28 | HS.25-2649 | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 1000 ul | YL185AH0003098 | PP-HEMA-039 | 2025-04-28 | HS.25-2640 | NAN HOSPITAL
Piston pipette ; Single Channel | JENCONS | SEALPETTE 100 ul | EN26439 | PP-HEMA-038 | 2025-04-28 | HS.25-2639 | NAN HOSPITAL
Piston pipette ; Single Channel | BIOHIT | PROLINE 2-20 ul | CU77440 | PP-HEMA-040 | 2025-04-28 | HS.25-2648 | NAN HOSPITAL
Liquid in glass Thermometer | MC | - | - | LIG-25LAB-001 | 2025-05-13 | LG25052248 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | - | DT-5 | - | DT-LAB-006 | 2025-05-09 | DT25052258 | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 200-1000 ul | YM203AH0098810 | - |  | counter หมุนไม่ได้ เสีย | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 200-1000 ul | YM168AA0000618 | AUT-MLB-014 | 2025-04-28 | HS.25-2643 | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 20-200 ul | YM211AL0036451 | AUT-MLB-017 | 2025-04-28 | HS.25-2646 | NAN HOSPITAL
Piston pipette ; Single Channel | DLAB | 0.5-10 ul | YM213AM0009733 | AUT-MLB-015 | 2025-04-28 | HS.25-2638 | NAN HOSPITAL
Piston pipette ; Single Channel | witeg | WITOPET 100-1000 ul | 2100357 | - | 2025-04-28 | HS.25-2642 | NAN HOSPITAL
Digital Thermometer with Sensor RTD | SK SATO | PC-5000TRH-II | - | 6685-014-0001/0011-61 | 2025-05-09 | DT25052259 | NAN HOSPITAL