## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
AUTOCLAVE | DAIHAN | WACS-1060 | WACS1060081215002 | LABM-AU-01 | 2025-07-15 | AC25073671 | Medical Laboratory Department
AUTOCLAVE | DAIHAN | WACS-1060 | WACS1060070719008 | LABM-AU-02 | 2025-07-15 | AC25073672 | Medical Laboratory Department
PAN BALANCE | OHAUS | HARVARD TRIP | - | LABB-BL-03 | 2025-07-08 | ISO9001 | Medical Laboratory Department
PAN BALANCE | REMI | CBZ-50 PLUS | ZALB-00476 | LABB-BL-06 | 2025-07-08 | ISO9001 | Medical Laboratory Department
PAN BALANCE | - | - | - | LABM-BL-01 | 2025-07-15 | CAL9001 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19α | 144108 | LABH-CE-02 | 2025-07-17 | CF25073676 | Medical Laboratory Department
CENTRIFUGE | Hettich | EBA 200 | 0014141-03 | LABH-CE-03 | 2025-06-17 | CF25073677 | Medical Laboratory Department
CENTRIFUGE | Hettich | EBA 200 S | 0000593-02 | LABH-CE-04 | 2025-07-17 | CF25073678 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-36 | 143628 | LABI-CE-03 | 2025-07-17 | CF25073679 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-36α | 150454 | LABI-CE-04 | 2025-07-17 | CF25073680 | Medical Laboratory Department
CENTRIFUGE | BIONEER | ExiSpin | 1021518030076 | LABI-CE-05 | 2025-07-16 | CF25073681 | Medical Laboratory Department
CENTRIFUGE | BIONEER | ExiSpin | 1021518020018 | LABI-CE-06 | 2025-07-16 | CF25073682 | Medical Laboratory Department
CENTRIFUGE | DLAB | D2012 plus | LP189AJ0000010 | LABI-CE-07 | 2025-07-17 | CF25073683 | Medical Laboratory Department
REFRIGERATED CENTRIFUGE | ThermoFisher | ST 16 R | 42650895 | LABI-CE-08 | 2025-07-16 | CF25073684 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19α | 153011 | LABI-CE-09 | 2025-07-17 | CF25073686 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19α | 142061 | LABP-CE-01 | 2025-07-17 | CF25073687 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-36α | 154320 | LABC-CE-04 | 2025-07-17 | CF25073688 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19α | 147954 | LABC-CE-05 | 2025-07-17 | CF25073689 | Medical Laboratory Department
CENTRIFUGE | Hettich | EBA 21 | 0000161-02 | LABB-CE-01 | 2025-07-08 | CF25073690 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19F | 136839 | LABB-CE-02 | 2025-07-08 | CF25073691 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-19α | 142063 | LABB-CE-04 | 2025-07-08 | CF25073692 | Medical Laboratory Department
CENTRIFUGE | Centurion Scientific | C2 Series | 1268314 | LABB-CE-05 | 2025-07-08 | CF25073693 | Medical Laboratory Department
CENTRIFUGE | BIOSAN | LMC-3000 | 1020818100335 | LABM-CE-01 | 2025-07-15 | CF25073694 | Medical Laboratory Department
HIGHSPEED CENTRIFUGE | BIOSAN | Microspin 12 | 1021319080366 | LABM-CE-02 | 2025-07-18 | CF25073695 | Medical Laboratory Department
CENTRIFUGE | MPW | M-DIAGNOSTIC | 102MD089221 | LABM-CE-03 | 2025-07-15 | CF25073696 | Medical Laboratory Department
CENTRIFUGE | MPW | MPW M-DIAGNOSTIC | 102MD115322 | LABM-CE-04 | 2025-07-18 | CF25073697 | Medical Laboratory Department
HEMATOCRIT CENTRIFUGE | Hettich | HAEMATOKRIT 200 | 0043436-04 | LABH-HE-01 | 2025-07-17 | CF25073698 | Medical Laboratory Department
HEMATOCRIT CENTRIFUGE | Hettich | HAEMATOKRIT 200 | 0002588-03 | LABH-HE-03 | 2025-07-16 | CF25073699 | Medical Laboratory Department
HEMATOCRIT CENTRIFUGE | Hettich | HAEMATOKRIT 200 | 0005296-05 | LABO-HE-02 | 2025-07-17 | CF25073700 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-11NC | 141790 | LABH-UE-03 | 2025-07-16 | CF25073701 | Medical Laboratory Department
CENTRIFUGE | GEMMY | PLC-012E | 610563 | LABO-UE-02 | 2025-07-18 | CF25073702 | Medical Laboratory Department
CENTRIFUGE | KOKUSAN | H-11NC | 143948 | LABO-UE-03 | 2025-07-17 | CF25073703 | Medical Laboratory Department
REFRIGERATED CENTRIFUGE | ThermoFisher | Cryofuge 6000i | 41318884 | LABB-RC-02 | 2025-07-15 | CF25073704 | Medical Laboratory Department
HOT AIR OVEN | 0 | 0 | 0 | LABM-HA-01 | 0 | OUT SOURCE | Medical Laboratory Department
HOT AIR OVEN | 0 | 0 | 0 | LABM-HA-02 | 0 | OUT SOURCE | Medical Laboratory Department
INCUBATOR | POL-EKO-APARATURA | CLW 180 STD | CW18190045 | LABM-IT-01 | 2025-07-14 | CH25073705 | Medical Laboratory Department
INCUBATOR | WIGGENS | WH-05 | W293190302 | LABM-IT-02 | 2025-07-14 | CH25073706 | Medical Laboratory Department
INCUBATOR | SHEL LAB | GI6-2 | 05015808 | LABM-IT-03 | 2025-07-14 | CH25073707 | Medical Laboratory Department
INCUBATOR | SHEL LAB | SMI11-2 | 12006014 | LABM-IT-04 | 2025-07-14 | CH25073708 | Medical Laboratory Department
INCUBATOR | SHEL LAB | SCO5W-2 | 12023221 | LABM-IT-05 | 2025-07-14 | CH25073709 | Medical Laboratory Department
INCUBATOR | POL-EKO-APARATURA | CLW 180 IG SMART | CW18220009 | LABM-IT-06 | 2025-07-14 | CH25073710 | Medical Laboratory Department
INCUBATOR | POL-EKO-APARATURA | CLW 53 IG SMART | CW53210030 | LABM-IT-07 | 2025-07-14 | CH25073711 | Medical Laboratory Department
DRY BATH | Mit | B-DB80 | 08053015 | LABH-MI-01 | 2025-07-17 | DB25073712 | Medical Laboratory Department
DRY BATH | Mit | TB-DB80 | D8005171 | LABH-MI-02 | 2025-07-17 | DB25073713 | Medical Laboratory Department
DRY BATH | MIT | TB-DB80 | D8057029 | LABB-MI-01 | 2025-07-09 | DB25073714 | Medical Laboratory Department
DRY BATH | - | TB-02T | TB02T0330 | LABB-MI-02 | 2025-07-09 | DB25073715 | Medical Laboratory Department
REFRIGERATOR | HELMER | IHB256 | 969860 | LABB-RG-01 | 2025-07-08 | CH25073716 | Medical Laboratory Department
REFRIGERATOR | HELMER | IHB120 | 982979 | LABB-RG-02 | 2025-07-08 | CH25073717 | Medical Laboratory Department
REFRIGERATOR | HELMER | IB125 | 2072055 | LABB-RG-03 | 2025-07-08 | CH25073718 | Medical Laboratory Department
REFRIGERATOR | HELMER | IHB120 | 1001328 | LABB-RG-04 | 2025-07-08 | CH25073719 | Medical Laboratory Department
WARMER | Barkey | plasmatherm | 1110083 | LABB-PT-01 | 2025-07-09 | DB25073720 | Medical Laboratory Department
PLASMA THAWERS | KW APPARECCHI SCIENTIFICI | WPFD 3/6 | 82174 | LABB-PT-02 | 2025-07-09 | DB25073721 | Medical Laboratory Department
PLATELET INCUBATOR | HELMER | PC1200i | 1000304 | LABB-PL-02 | 2025-07-08 | CH25073722 | Medical Laboratory Department
FREEZER | HAIER | DW-40L262 | BE02Q 4E1T0 0QEH9 70005 | LABI-RE-01 | 2025-07-16 | CH25073723 | Medical Laboratory Department
FREEZER | MITSUBISHI ELECRIC | MF-U14M-W | 81206520 | LABI-RE-02 | 2025-07-15 | CH25073724 | Medical Laboratory Department
FREEZER | SANDEN INTERCOOL | SNQ-0153D41A | SNQ0153-161202538 | LABI-RE-03 | 2025-07-16 | CH25073725 | Medical Laboratory Department
FREEZER | Panasonic | MDF-437-PE | 17070022 | LABB-RE-01 | 2025-07-08 | CH25073726 | Medical Laboratory Department
FREEZER | Panasonic | MDF-437-PE | 17070024 | LABB-RE-02 | 2025-07-08 | CH25073727 | Medical Laboratory Department
FREEZER | Panasonic | MDF-437 | 16070029 | LABB-RE-03 | 2025-07-09 | CH25073728 | Medical Laboratory Department
FREEZER | AHT(ASIA) | VU-710.19-40) | 48342-341-001 | LABB-RE-04 | 2025-07-08 | CH25073729 | Medical Laboratory Department
FREEZER | HELMER | HHPF125-8 | 975692 | LABB-RE-05 | 2025-07-09 | CH25073730 | Medical Laboratory Department
FREEZER | Panasonic | MDF-237 | 17060031 | LABB-RE-06 | 2025-07-09 | CH25073731 | Medical Laboratory Department
REFRIGERATOR | VESTFROST | AKG 337 Upgrade | 20184955270 | LABB-RF-01 | 2025-07-08 | CH25073732 | Medical Laboratory Department
FREEZER | HAIER | DW-40L262 | BE02Q4E1T00QEGB90011 | LABC-RE-01 | 2025-07-16 | CH25073733 | Medical Laboratory Department
FREEZER | HAIER | DW-40L262 | BE02Q4E1T00QEFCH0010 | LABM-RE-01 | 2025-07-18 | CH25073734 | Medical Laboratory Department
ROTATOR | GEMMY | VRN-360 | - | LABI-RT-01 | 2025-07-17 | CF25073735 | Medical Laboratory Department
ROTATOR | GEMMY | VRN-200 | 306914 | LABM-RT-01 | 2025-07-14 | CF25073736 | Medical Laboratory Department
VOTEX MIXER | DAIHAN | VM-10 | 409331126000000 | LABI-VM-01 | 2025-07-18 | CAL9001 | Medical Laboratory Department
VOTEX MIXER | DLAB | MX-S | VB185AH0001835 | LABI-VM-02 | 2025-07-18 | CAL9001 | Medical Laboratory Department
WATER BATH | MEMMERT | WTB6 | LA21.0104 | LABH-WB-01 | 2025-07-16 | WB25073737 | Medical Laboratory Department
WATER BATH | Grant | SUB Aqua 26 | QV1133003 | LABB-WB-01 | 2025-07-09 | WB25073738 | Medical Laboratory Department
WATER BATH | GEMMY | YCW-01 | - | LABM-WB-01 | 2025-07-14 | WB25073739 | Medical Laboratory Department
WATER BATH | Grant | SUB AQUA 26 | QV1127002 | LABM-WB-02 | 2025-07-14 | WB25073740 | Medical Laboratory Department
SLIDE WARMER | LABOTECH | SW-40 | - | LABH-SH-01 | 2025-07-17 | DB25073741 | Medical Laboratory Department
SLIDE WARMER | SLEE | slidetec HEAT | V1 17 0018 | LABO-SH-01 | 2025-07-17 | DB25073742 | Medical Laboratory Department
SLIDE WARMER | LABOTECH | SW-40 | - | LABO-SH-02 | 2025-07-17 | DB25073743 | Medical Laboratory Department
SLIDE WARMER | SLEE | slidetec HEAT | V1 17 0017 | LABM-SH-01 | 2025-07-15 | DB25073744 | Medical Laboratory Department
SLIDE WARMER | LABOTECH | SW-40 | - | LABM-SH-02 | 2025-07-15 | DB25073745 | Medical Laboratory Department