## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
TIMER | TIMER-5 | - | - | LAB-LRR-002 | 2025-07-08 | CAL/PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
INCUBATOR | MEMMERT | B 30 | 821799 | LAB-LRR-003 | 2025-07-07 | CH25073589 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | MEDICOOL | MDC 330 | MDC330202207061 | LAB-LRR-004 | 2025-07-07 | CH25073590 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
WATER BATH | SH SCIENTIFIC | SH- WB-11GND | 220630WB-11GDN | LAB-LRR-005 | 2025-07-07 | WB25073591 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
TIMER | TIMER-5 | - | - | LAB-LRR-006 | 2025-07-08 | CAL/PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | MEDICOOL | MDC 330 | MDC330-202207062 | LAB-LRR-007 | 2025-07-07 | CH25073592 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | H-19 ALPHA | 156616 | LAB-LRR-008 | 2025-07-08 | CF25073593 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | H-19 ALPHA | 156617 | LAB-LRR-009 | 2025-07-08 | CF25073594 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
READERS, MICROHEMATOCRIT | KUBOTA | - | - | LAB-LRR-012 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | SHUKE | TD-4Z | 21111108 | LAB-LRR-013 | 2025-07-08 | CF25073596 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
HEMATOCRIT CENTRIFUGE | KOKUSAN | H-1200F | 154343 | LAB-LRR-014 | 2025-07-08 | CF25073597 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
VOTEX MIXER | DLAB | MX-S | VB222AQ0001137 | LAB-LRR-015 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CELL COUNTING | DIGICOUNT | DC-10 | 2101098 | LAB-LRR-017 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
HOT PLATE | LABOTECH | SW-40 | - | LAB-LRR-018 | 2025-07-08 | DB25073598 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
ROTATOR | KK | VRN-360 | - | LAB-LRR-020 | 2025-07-08 | CF25073599 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
FREEZER | MEDICOOL | MDC245 | MDC245-202207005 | LAB-LRR-021 | 2025-07-08 | CH25073600 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | PHCBI | MBR-305GR-PE | 21040015 | LAB-LRR-025 | 2025-07-08 | CH25073601 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
PLATELET INCUBATOR | HELMER | PC100I | 968176 | LAB-LRR-027 | 2025-07-07 | CH25073603 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
MICROSCOPE | OLYMPUS | CX21 | 5H92476 | LAB-LRR-029 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | ORTHO | WORKSTATION | 610011795 | LAB-LRR-032 | 2025-07-07 | CF25073604 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
INCUBATOR | ORTHO | WORKSTATION | 610011795 | LAB-LRR-032 | 2025-07-07 | DB25073605 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | HS-12 | 154845 | LAB-LRR-033 | 2025-07-08 | CF25073606 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
WATER BATH | Gemmyco | YCW-010E(22L) | 1902879 | LAB-LRR-048 | 2025-07-07 | WB25073607 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | DLAB | - | LD209A2000294 | LAB-LRR-052 | 2025-07-08 | CF25073609 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | - | L600 | W20900021030142 | LAB-LRR-054 | 2025-07-08 | CF25073610 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
MICROSCOPE | OLYMPUS | CX23 | 2C82750 | LAB-LRR-058 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
MICROSCOPE | OLYMPUS | CX23 | 2C82777 | LAB-LRR-059 | 2025-07-08 | PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
FREEZER | PHCBI | MDF-MU339-PE | 210460044 | LAB-LRR-026 | 2025-07-31 | CH25073602 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
HOT PLATE | - | 18715 | 21HP03001 | LAB-LRR-051 | 2025-07-31 | CAL/PM | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
WEIGHT DIGITAL | - | WT2002N | 1811018466 | LAB-LRR-055 | 2025-07-31 | EB25073608 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD