## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
CENTRIFUGE | KOKUSAN | H-11NC | 124141 | 6631-004-093 | 2025-05-20 | CF25052365 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | KOKUSAN | H-11NC | 121170 | 6631-002-001-018 | 2025-05-20 | CF25052366 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | Hettich | EDA21 | 0000931-01.00 | 6631-002-001-017 | 2025-05-22 | CF25052367 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BOECO | C-28A | 0000728 | 5214-021-078(5) | 2025-05-22 | CF25052368 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BOECO | C-28A | 0000738 | 5214-021-078(6) | 2025-05-22 | CF25052369 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | KOKUSAN | H-19α | 146952 | 6640-005-071 | 2025-05-22 | CF25052370 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BOECO | C-28A | 0001283-03 | 6639-004-176 | 2025-05-22 | CF25052371 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | SCILOGEX | D 1008 | HP000000282 | 6631-004-175 | 2025-05-23 | CF25052372 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | DIAMED | DIACENT-12 | 9000060459 | 6631-004-088 | 2025-05-21 | CF25052374 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | DIAMED | DIACENT-12 | 9000060500 | 6631-004-089 | 2025-05-23 | CF25052373 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | DIAMED | DIACENT-12 | 9000060292 | 6631-004-081 | 2025-05-21 | CF25052375 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | KOKUSAN | H-19 Alpha | 146953 | 6631-004-174 | 2025-05-20 | CF25052376 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | GEMMY | PLC-024 | 26439 | 6631-004-087(1) | 2025-05-21 | CF25052377 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | SCILOGEX | DM0412 | LD4E005202 | 6631-004-178 | 2025-05-22 | CF25052378 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | DLAB | D2012 plus | LP197AL0000074 | 6631-004-203 | 2025-05-22 | CF25052379 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BIOSAN | MSC-6000 | 01021119050051 | 6695-019-161 | 2025-05-22 | CF25052380 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BIOSAN | MSC-6000 | 01021119050049 | 6695-019-160 | 2025-05-22 | CF25052381 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | BIOSAN | MSC-6000 | 01021119050036 | 6695-019-159 | 2025-05-22 | CF25052382 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | Biosan | MSC-6000 | 01021123010026 | 6695-019-195 | 2025-05-23 | CF25052383 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | Biosan | MSC-6000 | 0102-1123010034 | 6695-019-196 | 2025-05-23 | CF25052384 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | SHANGHAI | 90-2 | 100405 | 6631-004-151 | 2025-05-20 | CF25052385 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | KOKUSAN | H-19α | 156603 | 6631-004-210 | 2025-05-20 | CF25052386 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | KOKUSAN | H-19 Alpha | 156604 | 6631-004-211 | 2025-05-20 | CF25052387 | NARESUAN UNIVERSITY HOSPITAL
HEMATOCRIT CENTRIFUGE | HETTICH | HAEMATOKRIT | 0005030-04 | 6631-004-206 | 2025-05-22 | CF25052388 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | Accuplus | R1400 | R1400402-0510-0003 | 7110-047-057 | 2025-05-20 | CH25052389 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | Accuplus | R1400 | R1400402-0510-0005 | 7110-047-059 | 2025-05-21 | CH25052390 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANDEN INTERCOOL | SDC-1500AY | SDC-1500101-0403-00690 | 4110-001-367 | 2025-05-20 | CH25052391 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANYO | MPR-311D(H) | 09020076 | 4110-001-568 | 2025-05-21 | CH25052392 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | Accuplus | R1400 | R1400402-0510-0004 | 7110-047-058 | 2025-05-20 | CH25052393 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANDEN INTERCOOL | SPE-0753D11C | SPE0753-140600649 | 7110-047-118 | 2025-05-19 | CH25052394 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANDEN INTERCOOL | SPE-0753D11C | SPE0753-140400372 | 7110-047-119 | 2025-05-20 | CH25052395 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | MR.COOL | - | - | 7110-047-073 | 2025-05-20 | CH25052396 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANYO | SR-F102B | 300493 | 4110-001-262(1) | 2025-05-20 | CH25052397 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | TOSHIBA | GR-A28KP | 547-3107990Q-3419-0911499 | ว.งบ.001/2567 | 2025-05-22 | CH25052398 | NARESUAN UNIVERSITY HOSPITAL
PLATELET INCUBATOR | HELMER | PC1200I | 994655 | 7110-047-066 | 2025-05-21 | CH25052399 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANYO | MBR-506D(H) | 20708670 | 4110-001-261 | 2025-05-20 | CH25052400 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANYO | MBR-1405GR | 10080015 | 7110-047-068 | 2025-05-20 | CH25052401 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | SANYO | MBR-1405GR | 11060072 | 5214-021-078(27) | 2025-05-20 | CH25052402 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | INTERCOOL | SDC-1000AY | SDC1000101-0403-01254 | 4110-001-359 | 2025-05-20 | CH25052403 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | ACCUPLUS | P700 | 0315-0007 | 7110-047-133 |  | เสียยกเลิก | NARESUAN UNIVERSITY HOSPITAL
PLATELET INCUBATOR | HELMER | PC1200I | 2038842 | 7110-047-157 | 2025-05-21 | CH25052405 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | ACCUPLUS | P700 | 0315-0006 | 7110-047-134 | 2025-05-19 | CH25052406 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | ACCUPLUS | P700 | 0415-0008 | 7110-047-135 | 2025-05-19 | CH25052407 | NARESUAN UNIVERSITY HOSPITAL
PLATELET INCUBATOR | HELMER | PC1200I | 2060920 | 7110-047-179 | 2025-05-21 | CH25052408 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | HAIER | DW-40L188 | BE02P1E1T00QEEAG0001 | 7110-047-136 | 2025-05-19 | CH25052409 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | BRANDT | UD2720 | 08 15 42126 | 7110-047-047 | 2025-05-21 | CH25052410 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | Haier | DW-40L262 | BE02Q 0B010 0B294 JFZMF | 4110-001-587 | 2025-05-21 | CH25052411 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | HAIER | DW-40L262 | BE020 0B0100B29C BSOEC | 7110-047-061 | 2025-05-23 | CH25052412 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | HAIER | DW-40L262 | BE02Q4E1T00QEFCH0023 | 7110-047-148 | 2025-05-21 | CH25052413 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | PANASONIC | MDF-U334-PE | 17070084 | 7110-047-168 | 2025-05-21 | CH25052414 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | SIC | - | SDF240101-0304-00001 | 7110-047-032 | 2025-05-21 | CH25052415 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | PHCBI | MDF-437-PE | 21120044 | 7110-047-220 | 2025-05-20 | CH25052416 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | SANYO | MDF-236 | 20302920 | 4110-001-262 | 2025-05-20 | CH25052417 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | SANYO | MDF-U537 | 09020118 | 4110-001-567 | 2025-05-21 | CH25052418 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | SANYO | MDF-436 | 10010013 | 7110-047-065 | 2025-05-20 | CH25052419 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | THERMO SCIENTIFIC | 8801 | 8294444-B | 7110-047-076 | 2025-05-21 | CH25052420 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | PHCBI | MDF-437-PE | 18110022 | 7110-047-178 | 2025-05-20 | CH25052421 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | Haier | DW-40L262 | BE02Q 4E1T0 0QEL3 B0008 | 7110-047-192 | 2025-05-20 | CH25052422 | NARESUAN UNIVERSITY HOSPITAL
FREEZER | ESCO | UUS-363A-1-SS-3D | 2020-156151 | 7110-047-195 | 2025-05-20 | CH25052423 | NARESUAN UNIVERSITY HOSPITAL
WATER BATH | WISEBATH | WB-11 | WB11070619004 | 6630-018-188 | 2025-05-21 | WB25052424 | NARESUAN UNIVERSITY HOSPITAL
WATER BATH | MEMMERT | WB 22 | L502.0625 | 6695-020-005 | 2025-05-20 | WB25052425 | NARESUAN UNIVERSITY HOSPITAL
WATER BATH | Grant | SAP12 | UE1509004 | 6630-018-214 | 2025-05-22 | WB25052426 | NARESUAN UNIVERSITY HOSPITAL
DRY BATH | BOEKEL | 113002-2 | 0233 12833 | 6670-011-010 | 2025-05-21 | DB25052427 | NARESUAN UNIVERSITY HOSPITAL
DRY BATH | BOEKEL | 113002-2 | 0233 12832 | 6670-011-011 | 2025-05-20 | DB25052428 | NARESUAN UNIVERSITY HOSPITAL
DRY BATH | MAJOR SCIENCE | EL-02 | 141127A066 | 6630-018-213 | 2025-05-22 | DB25052429 | NARESUAN UNIVERSITY HOSPITAL
DRY BATH | MAJOR SCIENCE | EL-01 | 191104A027 | 6630-018-259 | 2025-05-22 | DB25052430 | NARESUAN UNIVERSITY HOSPITAL
DRY BATH | MAJOR SCIENCE | EL-02 | 220310A008 | 6670-011-047 | 2025-05-20 | DB25052431 | NARESUAN UNIVERSITY HOSPITAL
ROTATOR | biosan | PSU-10i | 01014414100577 | 6695-019-135 | 2025-05-22 | CF25052432 | NARESUAN UNIVERSITY HOSPITAL
INCUBATOR | HEAL FORCE | HF151 | 1109L0912CE | 6630-020-019 | 2025-05-19 | CH25052433 | NARESUAN UNIVERSITY HOSPITAL
INCUBATOR | Accuplus | I250-S | 1250402-0310-0310 | 6630-044-024 |  | เสียยกเลิก | NARESUAN UNIVERSITY HOSPITAL
HOT AIR OVEN | DAIHAN SCIENTIFIC | WOF-50 | 04010161176032 | 7310-015-102 | 2025-05-19 | CH25052435 | NARESUAN UNIVERSITY HOSPITAL
INCUBATOR | DAIHAN SCIENTIFIC | WIG-50 | 0401018110U005 | 7110-047-077 | 2025-05-19 | CH25052436 | NARESUAN UNIVERSITY HOSPITAL
INCUBATOR | MEMMERT | IN110 | D416.0207 | 6665-015-023 | 2025-05-19 | CH25052437 | NARESUAN UNIVERSITY HOSPITAL
ELECTRONIC BALANCE | OHAUS | Scout Pro SPS202 | B610190816 | 6670-004-398 | 2025-05-22 | EB25052438 | NARESUAN UNIVERSITY HOSPITAL
ELECTRONIC BALANCE | VIBRA | AJ-220CE | BL101059015 | 6670-004-303 | 2025-05-19 | EB25052439 | NARESUAN UNIVERSITY HOSPITAL
AUTOCLAVE | Labtech | LAC-5060s | dlcdld2106c | 5214-021-078(3) | 2025-05-21 | AC25052440 | NARESUAN UNIVERSITY HOSPITAL
AUTOCLAVE | Daihan Scientific | WAC-60 | 040092911B1003 | 7310-017-038 |  | เสียยกเลิก | NARESUAN UNIVERSITY HOSPITAL
AUTOCLAVE | DAHAN | WAC-60 | 1000137149M003 | 7310-012-069 | 2025-05-20 | AC25052442 | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-187 | 5210-026-059(3) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-192 | 5210-026-059(4) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-188 | 5210-026-059(5) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-190 | 5210-026-059(6) |  | ยกเลิก อยู่กับรายการที่ 40 | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-185 | 5210-026-059(7) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-194 | 5210-026-059(8) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-193 | 5210-026-059(9) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-184 | 5210-026-059(10) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-186 | 5210-026-059(11) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-189 | 5210-026-059(12) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | MDC-DIX-0119-191 | 5210-026-059(13) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | - | 5210-026-068(3) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | - | 5210-026-068(4) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | - | 5210-026-068(5) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | XR20CX-5N1C1 | LGDCBXB500 | วฟฟ.002/2568 | 2025-05-22 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | - | - | 5210-026-068(1) | 2025-05-20 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
Alarm Buzzer (Range -40 to 99 °C) | Medicool(Dixell) | - | - | 5210-026-068(2) | 2025-05-21 | CAL&PM | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | Diamed | Diacent-12 | 2002984 | 6631-004-218 | 2025-05-22 | CF25052443 | NARESUAN UNIVERSITY HOSPITAL
CENTRIFUGE | Diamed | Diacent-12 | 2002985 | 6631-004-219 | 2025-05-20 | CF25052444 | NARESUAN UNIVERSITY HOSPITAL
pH METER | METTLER TOLEDO | SevenCompact S330 | 0 | 6670-005-248 | 2025-05-21 | PH25052445 | NARESUAN UNIVERSITY HOSPITAL
pH METER | OHAUS | ST3100 | B602964322 | 6670-005-251 | 2025-05-21 | PH25052533 | NARESUAN UNIVERSITY HOSPITAL
REFRIGERATOR | TS COOL | SBC-P3DB | 130608 | 7110-047-237 | 2025-05-19 | CH25052441 | NARESUAN UNIVERSITY HOSPITAL
pH METER | METTLER TOLEDO | SevenCompact S330 | 0 | 6670-005-248 | 2025-05-21 | PH25052446 | NARESUAN UNIVERSITY HOSPITAL
pH METER | OHAUS | ST3100 | B602964322 | 6670-005-251 | 2025-05-21 | PH25052534 | NARESUAN UNIVERSITY HOSPITAL