## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
CENTRIFUGE | KOKUSAN | H-36α | 150681 | MCH01277 | 2025-06-19 | CF25062958 | MAE FAH LUANG MEDICAL CENTER
HEMATOCRIT CENTRIFUGE | HETTICH | HAEMATOKRIT 200 | 0002945-03 | MCH01279 | 2025-06-19 | CF25062923 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | POL-EKO-APARATURA | CHL 1200 BASIC | C12AF170645 | MCH01285 | 2025-06-17 | CH25062924 | MAE FAH LUANG MEDICAL CENTER
ROTATOR | KK | VRN-360 | 1302053 | MCH01287 | 2025-06-19 | CF25062925 | MAE FAH LUANG MEDICAL CENTER
FREEZER | THERMO SCIENTIFIC | FORMA 906 SERIES | 300254681 | MCH01289 | 2025-06-18 | CH25062926 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | POL-EKO-APARATURA | CHL 1200 BASIC | C12AF 170649 | MCH01290 | 2025-06-17 | CH25062927 | MAE FAH LUANG MEDICAL CENTER
FREEZER | SANDEN INTERCOOL | SCF-0275 | SCF0275-180100295 | MCH01292 | 2025-06-18 | CH25062928 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | HETTICH | EBA 280 | 0001903-04 | MCH01293 | 2025-06-19 | CF25062929 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | MEMMERT | IF110 | D419.0146 | MCH01295 | 2025-06-18 | CH25062930 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | MEMMERT | IF110 | D419.0145 | MCH01296 | 2025-06-18 | CH25062931 | MAE FAH LUANG MEDICAL CENTER
AUTOCLAVE | TOMY | SX-700 | 55134230 | MCH01297 | 2025-06-18 | AC25063116 | MAE FAH LUANG MEDICAL CENTER
AUTOCLAVE | TOMY | SX-700 | 53134130 | MCH01298 | 2025-06-18 | AC25063114 | MAE FAH LUANG MEDICAL CENTER
AUTOCLAVE | TOMY | SX-700 | 53134131 | MCH01299 | 2025-06-18 | AC25063115 | MAE FAH LUANG MEDICAL CENTER
FREEZER | B MEDICAL | F381 | 9021157 | MCH01300 | 2025-06-19 | CH25062932 | MAE FAH LUANG MEDICAL CENTER
PLATELET INCUBATOR | BIOBASE | BJPX-P20 | G1901000102BJPX-P20 | MCH01301 | 2025-06-17 | CH25062933 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | B MEDICAL | B291 | 8510758 | MCH01302 | 2025-06-17 | CH25062934 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | THERMO SCIENTIFIC | SORVALL LEGEND XTR | 42039344 | MCH01303 | 2025-06-19 | CF25062935 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | THERMO SCIENTIFIC | SORVALL LEGEND XTR | 42035658 | MCH01304 | 2025-06-19 | CF25062936 | MAE FAH LUANG MEDICAL CENTER
WATER BATH | MEMMERT | WNE22 | L518.0330 | MCH01305 | 2025-06-17 | DB25062937 | MAE FAH LUANG MEDICAL CENTER
GENIUS COUNT | GENIUS COUNT | G-12 | G1262002 | MCH01313 | 2025-06-20 | PM | MAE FAH LUANG MEDICAL CENTER
WEIGH SCALE | - | - | - | MCH01319 | 2025-06-19 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | HETTICH | ROTOFIX 32 A | 0040303-04 | MCH01352 | 2025-06-19 | CF25062939 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | WISD | HB-96D | 0403699137F001 | MCH01449 | 2025-06-19 | DB25062940 | MAE FAH LUANG MEDICAL CENTER
ELECTRONIC BALANCE | NJBONITALAB | DNC5002 | 2217300127 | MCH01467 | 2025-06-16 | EB25062941 | MAE FAH LUANG MEDICAL CENTER
FREEZER | PHCBI | MDF-U5412-PB | 20080227 | MCH01469 | 2025-06-18 | CH25062942 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | PHCBI | MBR-305GR-PE | 20070025 | MCH01470 | 2025-06-17 | CH25062943 | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | TERUMO | T-RAC II | 202012021 | MCH01472 | 2025-06-19 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | MEMMERT | UN 30 | B121.0670 | MCH02198 | 2025-06-19 | CH25062945 | MAE FAH LUANG MEDICAL CENTER
SHAKER | IKA | C-MAG HS 7 | 08.1279 | MCH02200 | 2025-06-19 | PM | MAE FAH LUANG MEDICAL CENTER
MICROTOMES, ROTARY | LEICA | HISTOCORE BIOCUT | 02199 | MCH02201 | 2025-06-19 | PM | MAE FAH LUANG MEDICAL CENTER
MICROTOMES, CRYOSTAT | SAKURA | TISSUE-TEK POLAR | 62510578 | MCH02202 | 2025-06-19 | PM | MAE FAH LUANG MEDICAL CENTER
FREEZER | SAKURA | HISTO-TEK PINO | 12330124 | MCH02203 | 2025-06-19 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | BIOAIR | S@FEGROW 188 PRO | V7300 | MCH02295 | 2025-06-18 | CH25062947 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | EPREDIA | CYTOSPIN 4 | CY304032107EP | MCH02323 | 2025-06-19 | CH25062948 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATED CENTRIFUGE | THERMO SCIENTIFIC | HERAEUS CRYOFUGE 16 CENTRIFUGE | (21)42670703 | MCH02335 | 2025-06-20 | CF25062949 | MAE FAH LUANG MEDICAL CENTER
ELECTRONIC BALANCE | OHAUS | R21PE3 | 8342195060 | MCH02336 | 2025-06-17 | EB25062950 | MAE FAH LUANG MEDICAL CENTER
DRY BATH INCUBATOR | WIGGENS | WD320 | W070200219 | MCH02362 | 2025-06-18 | DB25062951 | MAE FAH LUANG MEDICAL CENTER
FREEZER | MEDICOOL | MDC215 | MDC215-202111047 | MCH02441 | 2025-06-19 | CH25062952 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | MEDICOOL | MDC145 | MDC145-202110085 | MCH02442 | 2025-06-19 | CH25062953 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | DLAB | D1008 | HG215AX0001502 | MCH02443 | 2025-06-19 | CF25062954 | MAE FAH LUANG MEDICAL CENTER
FREEZER | MEDICOOL | MDC215 | MDC215-202111046 | MCH02447 | 2025-06-19 | CH25062955 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | DLAB | D1008 | HG215AX0001509 | MCH02450 | 2025-06-19 | CF25062956 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | DLAB | D2012PLUS | LP205AM0000768 | MCH02464 | 2025-06-20 | CF25062957 | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7443 | MCH03804 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7441 | MCH03805 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7444 | MCH03806 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7442 | MCH03807 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7446 | MCH03808 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7447 | MCH03809 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE BLOOD BAG | FRESENIUS KABI | COMPOGUARD | 1CHA7445 | MCH03810 | 2025-06-18 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WATER BATH | LEICA | HI1210 | 17229 | MCH03916 | 2025-06-19 | WB25062965 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | PHCBI | MBR-1405GR-PE | 20080046 | MCH03919 | 2025-06-17 | CH25063110 | MAE FAH LUANG MEDICAL CENTER
FREEZER | PHCBI | MDF-U5412 | 21059952 | MCH03920 | 2025-06-19 | CH25062967 | MAE FAH LUANG MEDICAL CENTER
WATER BATH | LEICA | HI1210 | 17475 | MCH03969 | 2025-06-19 | WB25062968 | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE | NYR | A1 | - | MCH04074 | 2025-06-19 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
WEIGHT SCALE | NYR | A1 | - | MCH04075 | 2025-06-19 | CAL/PM | MAE FAH LUANG MEDICAL CENTER
PLASMA THAWER | KW | WPFD 3/6 | 85260 | MCH04143 | 2025-06-17 | DB25062971 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | POL-EKO-APARATURA | CHL 1200 CMS SMART | CHL12210025 | MCH04585 | 2025-06-17 | CH25062972 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | POL-EKO-APARATURA | CHL 1200 CMS SMART | CHL12210023 | MCH04586 | 2025-06-17 | CH25062973 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | POL-EKO-APARATURA | CHL 1200 BM SMART | CHL12210024 | MCH04587 | 2025-06-17 | CH25062974 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | MEMMERT | UN160 | B520.0592 | MCH05339 | 2025-06-17 | CH25062975 | MAE FAH LUANG MEDICAL CENTER
ELECTRONIC BALANCE | OHAUS | PR224 | C231550983 | MCH05340 | 2025-06-16 | EB25062976 | MAE FAH LUANG MEDICAL CENTER
WATER BATH | MEMMERT | WTB 35 | LE21.0183 | MCH05345 | 2025-06-16 | WB25062977 | MAE FAH LUANG MEDICAL CENTER
FREEZER | HAIER | HCF-478DP | B30JT 5E000 39BN2 A0028 | MCH05346 | 2025-06-16 | CH25062978 | MAE FAH LUANG MEDICAL CENTER
HOT PLATE | WIGGENS | WH220 | W002211829 | MCH05364 | 2025-06-19 | DB25062979 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | CRYSTE | PURISPIN 18R | M8HF20047 | MCH05369 | 2025-06-17 | CF25062980 | MAE FAH LUANG MEDICAL CENTER
FREEZER | ESCO | HF2-400S-1 | 2021-IC79294 | MCH05370 | 2025-06-16 | CH25062981 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | eppendorf | Centrifuge 5430 | 5427NJ35437 | MCH06585 | 2025-06-16 | CF25062982 | MAE FAH LUANG MEDICAL CENTER
SPECTROPHOTOMETER, ULTRAVIOLET/VISIBLE | AGILENT TECHNOLOGIES | UV-VIS | MY22539205 | MCH05500 | 2025-06-17 | PM | MAE FAH LUANG MEDICAL CENTER
INCUBATOR AND SHAKER | ESCO | IBS-NR-19-8 | 2023-193848 | MCH05502 | 2025-06-16 | CH25062983 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR AND SHAKER | ESCO | IBS-NR-19-8 | 2023-193848 | MCH05502 | 2025-06-16 | CF25062922 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | HETTICH | ROTOFIX 32 A | 0048849-05 | MCH05601 | 2025-06-19 | CF25062984 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | HETTICH | ROTOFIX 32 A | 0048865-05 | MCH05602 | 2025-06-19 | CF25062985 | MAE FAH LUANG MEDICAL CENTER
ELECTRONIC BALANCE | TOMS | TM-EXC50002 | 2696-66 | MCH05918 | 2025-06-19 | EB25062986 | MAE FAH LUANG MEDICAL CENTER
DRY BATH | ALLSHENG | MK2000-2E | 092-16315-24010001 | MCH06140 | 2025-06-17 | DB25062987 | MAE FAH LUANG MEDICAL CENTER
DRY BATH | ALLSHENG | MK2000-2E | 092-16315-24010002 | MCH06141 | 2025-06-18 | DB25062988 | MAE FAH LUANG MEDICAL CENTER
DRY BATH | ALLSHENG | MK2000-2E | 092-16315-24010003 | MCH06142 | 2025-06-18 | DB25062989 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | GENEREACH | CUBEE | A17519 | MCH06577 | 2025-06-16 | CF25062990 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | SANDEN | SPC-0270 | SPC0270-241004146 | MCH06579 | 2025-06-16 | CH25062991 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | SANDEN | SPC-0270 | SPC0270-241004213 | MCH06580 | 2025-06-16 | CH25062992 | MAE FAH LUANG MEDICAL CENTER
FREEZER | SANDEN INTERCOOL | SNR-0505 | SNR0505-241117060 | MCH06581 | 2025-06-16 | CH25062993 | MAE FAH LUANG MEDICAL CENTER
FREEZER | SANDEN | SNR-0505 | SNR0505-241117079 | MCH06582 | 2025-06-16 | CH25062994 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | ALLSHENG | MINI-P25 | 045-16315-25010004 | MCH06586 | 2025-06-16 | CF25062995 | MAE FAH LUANG MEDICAL CENTER
CENTRIFUGE | ALLSHENG | MINI-P25 | 045-16315-25010003 | MCH06587 | 2025-06-16 | CF25062996 | MAE FAH LUANG MEDICAL CENTER
REFRIGERATOR | THERMO SCIENTIFIC | PL6500 | 3860M322031601 | MCH05708 | 2025-06-18 | CH25063111 | MAE FAH LUANG MEDICAL CENTER
FREEZER | THERMO SCIENTIFIC | PLF276 | 2760M322072202 | MCH06126 | 2025-06-17 | CH25063112 | MAE FAH LUANG MEDICAL CENTER
FREEZER | THERMO SCIENTIFIC | PLF276 | 2760M322072303 | MCH06127 | 2025-06-18 | CH25063113 | MAE FAH LUANG MEDICAL CENTER
INCUBATOR | KM APPARECCHI SCIENTIFICI | W96RT HPL | 88931 | MCH06220 | 2025-06-19 | CH25062966 | MAE FAH LUANG MEDICAL CENTER