## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
AUTOCLAVE | A8 | A884-306L | ST03-01190001 | WPH1005 | 2025-07-09 | AC25073747 | WATTANAPAT HOSPITAL TRANG
AUTOCLAVE | A8 | A884-360L | 1S-220707 | WPH1537 | 2025-07-09 | AC25073748 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | HOK COOL | SM 61 M | NO.005229 | WPH1607 | 2025-07-08 | CH25073749 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | LUCKYSTAR | CANYON 312N | 100003662212058 | WPH1810 | 2025-07-08 | CH25073750 | WATTANAPAT HOSPITAL TRANG
WATER BATH | MEMMERT | W350 | 920309 | WPH0130 | 2025-07-08 | WB25073751 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | HANIL | SEROSPIN | SEPH0111151 | WPH0132 | 2025-07-09 | CF25073753 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | SANYO | MBR-305GR | 10120101 | WPH0133 | 2025-07-08 | CH25073754 | WATTANAPAT HOSPITAL TRANG
ROTATOR | DIGISYSTEM | DSR-2800D | 15100397 | WPH0137 | 2025-07-09 | CF25073755 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | COLDMASTER | FKG 370 | 53900355 | WPH0139 | 2025-07-08 | CH25073756 | WATTANAPAT HOSPITAL TRANG
FREEZER | MIRAGE | FZ-189 | 10800441 | WPH0143 | 2025-07-08 | CH25073757 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | COLDMASTER | FKG 370 | 53900352 | WPH0144 | 2025-07-08 | CH25073758 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | MIRAGE | BC-330FN | 430468 | WPH0145 | 2025-07-08 | CH25073759 | WATTANAPAT HOSPITAL TRANG
HEMATOCRIT CENTRIFUGE | BOECO | HC-240 | 00000213 | WPH0962 | 2025-07-09 | CF25073762 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | HITACHI | R-VG400PZ | 4180600134 | WPH1012 | 2025-07-08 | CH25073764 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | HITACHI | R-VG400PZ | 4180600134 | WPH1012 | 2025-07-08 | CH25073765 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | DIGISYSTEM | DSC-302SMD | CMD3-19030013 | WPH1013 | 2025-07-09 | CF25073766 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | NOVE | NF200 | 03.14937 | WPH1213 | 2025-07-09 | CF25073767 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | NUVE | NF200 | 04.16225 | WPH1504 | 2025-07-09 | CF25073768 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | HAIER | SC-340BC-V3 | BWOADJE0000BUN2A0055 | WPH1571 | 2025-07-08 | CH25073769 | WATTANAPAT HOSPITAL TRANG
INCUBATOR | Dia-Med | ID-Incubator 37SI | 2005888 | WPH1659 | 2025-07-08 | DB25073770 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | Dia-Med | ID-Centrifuge 12SII | 1100357 | WPH1660 | 2025-07-09 | CF25073771 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | SANYO | SBC-2DA | 90500840 | WPH0330 | 2025-07-08 | CH25073772 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | LUCKYSTAR | CANYON 312N | 100000011811026 | WPH1606 | 2025-07-08 | CH25073775 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | HOK COOL | SM-HA2-110C | 20111090 | WPT0178 | 2025-07-08 | CH25073776 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | BEVERAGE | BC-399M | BC399200900319 | WPT0195 | 2025-07-08 | CH25073777 | WATTANAPAT HOSPITAL TRANG
FREEZER | TE SONIC | TPF-100 | 6849 | WPH1974 | 2025-07-08 | CH25073778 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | DIGISYSTEM | DSC-302SMD | CMD3N1-22070066 | WPH1975 | 2025-07-09 | CF25073779 | WATTANAPAT HOSPITAL TRANG
ROTATOR | ORBITAL SHAKER | KJ-201BD | 661212019 | WPH1747 | 2025-07-09 | CF25073780 | WATTANAPAT HOSPITAL TRANG
CENTRIFUGE | DRUKER DIAGNOSTIC | 642VDF PLUS REGENLAB | 220788AQ147 | WPH1749 | 2025-07-09 | CF25073781 | WATTANAPAT HOSPITAL TRANG
REFRIGERATOR | MEDICOOL | MDC-30TM | MTM3-514-354 | WPH0335 | 2025-07-08 | CH25033773 | WATTANAPAT HOSPITAL TRANG