## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
REFRIGERATOR | FKL | BR-500I | - | MCH00427 | 2025-06-17 | CH25063069 | MAE CHAN HOSPITAL
FREEZER | PANASONIC | SF-PC1497 | 931491 | MCH00430 | 2025-06-17 | CH25063070 | MAE CHAN HOSPITAL
FREEZER | PANASONIC | SF-PC1497 | 931686 | MCH00433 | 2025-06-17 | CH25063071 | MAE CHAN HOSPITAL
REFRIGERATOR | MEDITECH | DSP-02-120 | 12220003974 | MCH00436 | 2025-06-17 | CH25063072 | MAE CHAN HOSPITAL
REFRIGERATOR | SANDEN INTERCOOL | SPM-1003D11A | SPM1003-150300207 | MCH00438 | 2025-06-18 | CH25063073 | MAE CHAN HOSPITAL
REFRIGERATOR | ILSHIN BIOBASE | BB0123 | NNF1873 | MCH00441 | 2025-06-16 | CH25063074 | MAE CHAN HOSPITAL
REFRIGERATOR | ILSHIN BIOBASE | BB0123 | MLL5139 | MCH00443 | 2025-06-16 | CH25063075 | MAE CHAN HOSPITAL
FREEZER | DRAWELL | MDF-25V328F | G1606000405MDF | MCH00445 | 2025-06-16 | CH25063076 | MAE CHAN HOSPITAL
WATER BATH | Q.NIC | TB-10 | D47667 | MCH00447 | 2025-06-16 | WB25063077 | MAE CHAN HOSPITAL
CENTRIFUGE | HETTICH | EBA 280 | 0001357-04 | MCH00459 | 2025-06-16 | CF25063078 | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00466 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00470 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
CENTRIFUGE | TOPSCIEN | SPINPLUS | TP206274005 | MCH00538 | 2025-06-16 | CF25063079 | MAE CHAN HOSPITAL
DRY BATH | TOPSCIEN | MINI DRY BATH | TP009K233312514 | MCH00539 | 2025-06-16 | DB25063080 | MAE CHAN HOSPITAL
FREEZER | WHIRLPOOL | - | - | MCH00546 | 2025-06-17 | CH25063081 | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00551 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
HIGH SPEED CENTRIFUGE | TOPSCIEN | SPINPLUS | TP206274003 | MCH00552 | 2025-06-16 | CF25063082 | MAE CHAN HOSPITAL
DRY BATH | TOPSCIEN | MINI DRY BATH | TP009K233312512 | MCH00553 | 2025-06-16 | DB25063083 | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00554 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
REFRIGERATOR | MITSUBISHI | MR-496 | 51210050 | MCH00555 | - | ยกเลิก | MAE CHAN HOSPITAL
INCUBATOR | MEMMERT | IN 260 | D620.0163 | MCH00558 | 2025-06-17 | CH25063085 | MAE CHAN HOSPITAL
REFRIGERATOR | SANDEN INTERCOOL | SPM1003D11A | SPM1003S-151000215 | MCH00559 | 2025-06-17 | CH25063086 | MAE CHAN HOSPITAL
WATER BATH | MEMMERT | W 350 | 900116 | MCH00560 | 2025-06-18 | WB25063087 | MAE CHAN HOSPITAL
INCUBATOR | DAIHAN SCIENTIFIC | WIG155 | 155051 011002 | MCH00561 | 2025-06-17 | CH25063088 | MAE CHAN HOSPITAL
INCUBATOR | MEMMERT | IN 55 | D216.1301 | MCH00562 | 2025-06-17 | CH25063089 | MAE CHAN HOSPITAL
WEIGHT SCALE | JMS | AB-20E | 15-08-AB30E10005 | MCH00567 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
WEIGHT SCALE | TECSONIC | TCM-06D | 1370 | MCH00568 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
WEIGHT SCALE | JMS | AB-20E | 15-08-AB30E10004 | MCH00569 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
AUTOCLAVE | ALP | CL-32L | 807161 | MCH00577 | 2025-06-17 | AC25063090 | MAE CHAN HOSPITAL
AUTOCLAVE | STURDY | SA-300H | 090203011-030 | MCH00578 | 2025-06-17 | AC25063091 | MAE CHAN HOSPITAL
INCUBATOR | BINDER | - | - | MCH00579 | - | ยกเลิก | MAE CHAN HOSPITAL
CENTRIFUGE | KUBOTA | 5910 | BD1333 | MCH00583 | 2025-06-17 | CF25063093 | MAE CHAN HOSPITAL
TIMER | EPPENDORF | - | - | MCH00584 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00585 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
CENTRIFUGE | HETTICH | ROTOFIX 32 A | 0015942 | MCH00586 | 2025-06-16 | CF25063094 | MAE CHAN HOSPITAL
HEMATOCRIT CENTRIFUGE | HETTICH | HAEMATOKRIT 200 | 0000944-01 | MCH00587 | 2025-06-16 | CF25063095 | MAE CHAN HOSPITAL
CENTRIFUGE | DRAWELL | DD5-XK | AY150410198 | MCH00588 | 2025-06-17 | CF25063096 | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00589 | 2025-06-17 | CAL/PM | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00590 | 2025-06-17 | CAL/PM | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH00591 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
TIMER | - | - | - | MCH00592 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
TIMER | TIMER-5 | - | - | MCH00593 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
DIFFERENTIAL CELL COUNTING | MIT | G-12 | G1258057 | MCH00609 | 2025-06-17 | PM | MAE CHAN HOSPITAL
DIFFERENTIAL CELL COUNTING | - | HEMACOUNT 12 | 5111016 | MCH00610 | 2025-06-17 | PM | MAE CHAN HOSPITAL
HEMATOCRIT CENTRIFUGE | HETTICH | HAEMATOKRIT 210 | 0006544-03-00 | MCH01464 | 2025-06-18 | CF25063097 | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH01468 | 2025-06-17 | CAL/PM | MAE CHAN HOSPITAL
TIMER | RHYTHM | LCT013- R03 | - | MCH01469 | 2025-06-17 | CAL/PM | MAE CHAN HOSPITAL
TIMER | EPPENDORF | - | - | MCH01470 | 2025-06-17 | CAL/PM | MAE CHAN HOSPITAL
TIMER | CANON | CT-40 | - | MCH01601 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
CENTRIFUGE | HETTICH | ROTOFIX 32 | 0038526-02-00 | MCH01626 | 2025-06-18 | CF25063098 | MAE CHAN HOSPITAL
TIMER | - | - | - | MCH01809 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
WEIGHT SCALE | TECSONIC | TCM-06D | 1380 | MCH01810 | 2025-06-16 | CAL/PM | MAE CHAN HOSPITAL
REFRIGERATOR | PATTANA INTERCOOL | LS-2800 | 28705012 | MCH02038 | 2025-06-17 | CH25063099 | MAE CHAN HOSPITAL
REFRIGERATOR | THAN | BGN-11380570 | PD12-010035 | MCH00542 | 2025-06-18 | CH25063092 | MAE CHAN HOSPITAL
ROTATOR | GEMMY | VRN-200 | 1511297 | MCH01808 | 2025-06-18 | CF25063084 เพิ่ม | MAE CHAN HOSPITAL
ROTATOR | GEMMY | VRN-200 | 9305/ 18 | MCH00614 | 2025-06-18 | CF25063120 เพิ่ม | MAE CHAN HOSPITAL