## ใบขอรับบริการสอบเทียบ
Equipment | Manufacturer | Model | Serial No. | ID No. | Calibration Date | Certificate No. | Customer
CENTRIFUGE | KOKUSAN | H-19⍺ | 151950 | LAB-BCR-001 | 2025-06-20 | CF25063134 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | H-11NC | 150480 | LAB-BCR-002 | 2025-06-20 | CF25063135 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
HEMATOCRIT CENTRIFUGE | HERMLE | Z 216 M | 82170006 | LAB-BCR-013 | 2025-06-20 | CF25063136 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | HS-12 | 150173 | LAB-BCR-060 | 2025-06-20 | CF25063137 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | THERMO SCIENTIFIC | PLR1006 | 1007M317020704 | LAB-BCR-010 | 2025-06-19 | CH25063138 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | THERMO SCIENTIFIC | PLR386 | 3860M317020909 | LAB-BCR-011 | - | ยกเลิก | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
FREEZER | PANASONIC | MDF-U334-PE | 17070087 | LAB-BCR-021 | 2025-06-19 | CH25063140 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | PANASONIC | MBR-305GR-PE | 18030008 | LAB-BCR-022 | 2025-06-19 | CH25063141 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR AND FREEZER | SANYO | MPR-214F | 09100555 | LAB-BCR-048 | 2025-06-19 | CH25063142 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR AND FREEZER | SANYO | MPR-214F | 09100555 | LAB-BCR-048 | 2025-06-19 | CH25063139 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
WATER BATH | MEMMERT | WNB14 | L418.0436 | LAB-BCR-014 | 2025-06-19 | WB25063143 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
DRY BATH | ALLSHENG | MK2000-1 | A101-01545 | LAB-BCR-020 | 2025-06-19 | DB25063144 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
ROTATOR | DLAB | SK-O180-PRO | SA16CAA0000069 | LAB-BCR-017 | 2025-06-20 | CF25063145 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
CENTRIFUGE | KOKUSAN | H-19⍺ | 143586 | LAB-CNW-001 | 2025-06-20 | CF25063146 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | SANDEN INTERCOOL | YDM-1005 | YDM1005P-220400093 | LAB-BCR-066 | 2025-06-20 | CH25063147 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
FREEZER | MEDITECH | HCF-228C | B30JFLE6A00BQM890020 | LAB-BCR-065 | 2025-06-19 | CH25063148 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD
REFRIGERATOR | MEDICOOL | MDC330 | MDC330-202409057 | LAB-BCR-076 | 2025-06-19 | CH25063162 | LABORATORY OF NATIONAL HEALTHCARE SYSTEMS CO.,LTD